## Slide 1: uNMR firmware progress
Jan – Feb -

## Slide 2: FID

## Slide 3: Freq issue

## Slide 4: Tuning

## Slide 6: T90

## Slide 10: CPMG

## Slide 13: Serial transmission problem
Bit patterns with fwrite.
Fprintf does not transmit 10.

## Slide 14
Sudden phase jump

## Slide 15: Phase testing

## Slide 16: 500 FIDs, with seq loading, LO uninterrupted

## Slide 17: 500 fids, LO uninterrupted, all others ON

## Slide 18: Same data as prev

## Slide 19: Set PLL freq.

## Slide 20: With set freq 2f

## Slide 21: No set freq 2f

## Slide 22: Circuit response measurement
Inject RF pulse through the tuning coil (weak coupling to tank circuit)
Pulse seq:
  200 us – RF pulse (300 us) – wait time 100ms
Detect from the beginning, obtain RF pulse shape

## Slide 23
Phase of RF
Detect signal during pulse

## Slide 24
See phase jump in sync with NMR data

## Slide 25: Phase Jump